## Example_input
Order | Name | Type | Level | Replicate | Injection | Std_conc | Quantifier | IS | Qualifier | Peak_asymmetry | Signal_to_noise | Rt_analyte
Note on A1: Pieter-Jan De Sutter: Run order
Note on B1: Pieter-Jan De Sutter: Sample name (optional)
Note on C1: Pieter-Jan De Sutter: Sample type: Blank Standard QC Analyte
Note on D1: Pieter-Jan De Sutter: Level of sample type (see explanation sheet)
Note on E1: Pieter-Jan De Sutter: Analytical replicate of the sample
Note on F1: Pieter-Jan De Sutter: injection number
Note on G1: Pieter-Jan De Sutter: Nominal concentration of the sample
Note on H1: Pieter-Jan De Sutter: Area of the quantifier ion
Note on I1: Pieter-Jan De Sutter: Area of the IS ion
Note on J1: Pieter-Jan De Sutter: Area of the qualifier ion (optional)
Note on K1: Pieter-Jan De Sutter: Peak assymetry (optional)
Note on L1: Pieter-Jan De Sutter: Signal to noise ratio (optional)
Note on M1: Pieter-Jan De Sutter: Retention time analyte (optional)

## Sample Type-Level Explanation
#Explanation of the different possible inputs of Type-Level pairs
Type | Level | Explanation
Blank | Blank | Processed blank sample without analyte or internal standard
Blank | Zero | Processed blank sample without analyate but with internal standard
Blank | Carry-over | Processed blank sample after highest calibrator
Blank | <free> | Blank which will not be evaluated (e.g. solvent blank)
Standard | <free, Calibrator name> | Calibrator standard sample
QC | LLOQ | Quality control sample at the level of the lowest standard (lower limit of quantification)
QC | LOW | Quality control sample at a low concentration
QC | MID | Quality control sample at a mid concentration
QC | HIGH | Quality control sample at a high concentration
Sample | <free, Sample name> | Samples to be quantified

## CopyPaste
#Optional: use this tab to copy paste data from text document (example_input as example)

## Conditions (fixed)
Types
Blank
Standard
Analyte
QC