## Example_input
Order | Name | Type | Level | Replicate | Injection | Std_conc | Quantifier | IS | Qualifier | Peak_asymmetry | Signal_to_noise | Rt_analyte
1 | 200528_AMOXCAL08_BLANK_01_R1 | Blank | Blank | 1 | 1 |  | 46.247 | 32.403 | 15.476 | 0.71 | 6.627 | 1.8
2 | 200528_AMOXCAL08_CAL_01_R1 | Standard | CAL01 | 1 | 1 | 0.0248 | 4434.209 | 95857.703 | 1383.668 | 1.23 | 732.829 | 1.72
3 | 200528_AMOXCAL08_CAL_02_R1 | Standard | CAL02 | 1 | 1 | 0.0496 | 9316.205 | 91599.031 | 2854.581 | 1.27 | 1361.123 | 1.71
4 | 200528_AMOXCAL08_CAL_03_R1 | Standard | CAL03 | 1 | 1 | 0.0992 | 17265.998 | 93729.109 | 5207.094 | 1.31 | 4235.256 | 1.71
5 | 200528_AMOXCAL08_CAL_04_R1 | Standard | CAL04 | 1 | 1 | 0.2479 | 37316.965 | 91904.422 | 11323.432 | 1.35 | 5635.494 | 1.7
6 | 200528_AMOXCAL08_CAL_05_R1 | Standard | CAL05 | 1 | 1 | 0.4958 | 76511.07 | 88371.742 | 23407.684 | 1.33 | 11854.806 | 1.7
7 | 200528_AMOXCAL08_CAL_06_R1 | Standard | CAL06 | 1 | 1 | 0.9916 | 171454.578 | 87871.453 | 52103.48 | 1.38 | 21898.97 | 1.7
8 | 200528_AMOXCAL08_CAL_07_R1 | Standard | CAL07 | 1 | 1 | 1.9832 | 344788.781 | 83941.828 | 103296.039 | 1.42 | 16642.639 | 1.7
9 | 200528_AMOXCAL08_CAL_08_R1 | Standard | CAL08 | 1 | 1 | 2.479 | 394913.938 | 81111.422 | 121498.125 | 1.44 | 17974.155 | 1.7
10 | 200528_AMOXCAL08_BLANK_02_R1 | Blank | Carryover | 1 | 1 |  | 56.414 | 25.526 | 18.338 | 1.11 | 2.331 | 1.69
11 | 200528_AMOXCAL08_QC_LLOQ_01_R1 | QC | LLOQ | 1 | 1 | 0.0258 | 3749.195 | 88030.734 | 1126.755 | 1.3 | 288.954 | 1.7
12 | 200528_AMOXCAL08_QC_LLOQ_02_R1 | QC | LLOQ | 2 | 1 | 0.0258 | 5016.836 | 85982.75 | 1531.234 | 1.28 | 797.878 | 1.71
13 | 200528_AMOXCAL08_QC_LLOQ_03_R1 | QC | LLOQ | 3 | 1 | 0.0258 | 4614.341 | 87470.781 | 1442.069 | 1.31 | 613.573 | 1.69
14 | 200528_AMOXCAL08_QC_low_01_R1 | QC | LOW | 1 | 1 | 0.0413 | 7016.25 | 85834.633 | 2071.614 | 1.36 | 1236.306 | 1.68
15 | 200528_AMOXCAL08_QC_low_02_R1 | QC | LOW | 2 | 1 | 0.0413 | 7239.498 | 83686.383 | 2239.97 | 1.31 | 1201.569 | 1.68
16 | 200528_AMOXCAL08_QC_low_03_R1 | QC | LOW | 3 | 1 | 0.0413 | 7565.869 | 86299.234 | 2202.965 | 1.33 | 1821.127 | 1.68
17 | 200528_AMOXCAL08_QC_mid_01_R1 | QC | MID | 1 | 1 | 0.4127 | 73389.359 | 86904.367 | 22641.227 | 1.36 | 8667.28 | 1.68
18 | 200528_AMOXCAL08_QC_mid_02_R1 | QC | MID | 2 | 1 | 0.4127 | 70189.055 | 85028.313 | 21286.672 | 1.33 | 9155.812 | 1.67
19 | 200528_AMOXCAL08_QC_mid_03_R1 | QC | MID | 3 | 1 | 0.4127 | 75201.93 | 84357.945 | 22348.77 | 1.34 | 6194.285 | 1.67
20 | 200528_AMOXCAL08_QC_high_01_R1 | QC | HIGH | 1 | 1 | 2.3213 | 338570.469 | 82131.953 | 104452.375 | 1.48 | 36683.106 | 1.67
21 | 200528_AMOXCAL08_QC_high_02_R1 | QC | HIGH | 2 | 1 | 2.3213 | 386392.781 | 79007.523 | 118775.609 | 1.46 | 12877.595 | 1.67
22 | 200528_AMOXCAL08_QC_high_03_R1 | QC | HIGH | 3 | 1 | 2.3213 | 401925.313 | 80051.344 | 125500.055 | 1.44 | 11723.021 | 1.68
23 | 200528_AMOXCAL08_BLANK_03_R1 | Blank | Blank | 2 | 1 |  | 58.009 | 42.813 | 19.798 | 1.37 | 1.656 | 1.66
24 | 200528_STAB_BENCH_01_R1 | Analyte | Stability_Bench_8days | 1 | 1 | 2.1488 | 12685.705 | 84221.797 | 3739.616 | 1.3 | 847.726 | 1.68
25 | 200528_STAB_BENCH_02_R1 | Analyte | Stability_Bench_8days | 2 | 1 | 2.1488 | 12831.142 | 86268.734 | 3927.808 | 1.3 | 1002.534 | 1.67
26 | 200528_STAB_BENCH_03_R1 | Analyte | Stability_Bench_8days | 3 | 1 | 2.1488 | 12333.82 | 85081.164 | 3832.707 | 1.31 | 956.247 | 1.68
27 | 200528_AMOXCAL08_BLANK_04_R1 | Blank | Blank | 3 | 1 |  | 52.445 | 40.198 | 15.711 | 1.23 | 5.721 | 1.66
28 | 200528_STAB_FRIDGE8days_01_R1 | Analyte | Stability_Fridge_8days | 1 | 1 | 2.1488 | 164700.875 | 84890.727 | 50513.813 | 1.37 | 21655.236 | 1.67
29 | 200528_STAB_FRIDGE8days_02_R1 | Analyte | Stability_Fridge_8days | 2 | 1 | 2.1488 | 172774.281 | 82348.008 | 51581.207 | 1.38 | 10853.66 | 1.68
30 | 200528_STAB_FRIDGE8days_03_R1 | Analyte | Stability_Fridge_8days | 3 | 1 | 2.1488 | 175464.656 | 85071.273 | 53778.926 | 1.38 | 10793.257 | 1.68
31 | 200528_AMOXCAL08_BLANK_05_R1 | Blank | Blank | 4 | 1 |  | 49.763 | 44.303 | 18.07 | 1.41 | 2.931 | 1.67
32 | 200528_STAB_FRIDGE1day_01_R1 | Analyte | Stability_Fridge_1day | 1 | 1 | 2.1488 | 334954.219 | 82381.906 | 105488.125 | 1.44 | 59063.608 | 1.67
33 | 200528_STAB_FRIDGE1day_02_R1 | Analyte | Stability_Fridge_1day | 2 | 1 | 2.1488 | 349507.875 | 82910.977 | 105843.602 | 1.46 | 10546.121 | 1.67
34 | 200528_STAB_FRIDGE1day_03_R1 | Analyte | Stability_Fridge_1day | 3 | 1 | 2.1488 | 340485.375 | 81931.219 | 105837.32 | 1.47 | 9357.626 | 1.67
35 | 200528_AMOXCAL08_BLANK_06_R1 | Blank | Blank | 5 | 1 |  | 82.157 | 33.081 | 19.145 | 1.26 | 1.95 | 1.67
36 | 200528_STAB_FREEZETHAW_01_R1 | Analyte | Stability_Freezethaw_8days | 1 | 1 | 2.1488 | 330704.094 | 83254.828 | 103387.813 | 1.46 | 22157.208 | 1.67
37 | 200528_STAB_FREEZETHAW_02_R1 | Analyte | Stability_Freezethaw_8days | 2 | 1 | 2.1488 | 325150.344 | 84233.781 | 101190.219 | 1.48 | 9196.669 | 1.67
38 | 200528_STAB_FREEZETHAW_03_R1 | Analyte | Stability_Freezethaw_8days | 3 | 1 | 2.1488 | 335757.875 | 82338.828 | 101019.438 | 1.42 | 7243.518 | 1.66
39 | 200528_AMOXCAL08_BLANK_07_R1 | Blank | Blank | 6 | 1 |  | 101.357 | 38.498 | 25.501 | 1.35 | 3.406 | 1.67
40 | 200528_STAB_FREEZER_01_R1 | Analyte | Stability_Freezer_8days | 1 | 1 | 2.1488 | 342421 | 80242.359 | 105927.648 | 1.46 | 21582.68 | 1.66
41 | 200528_STAB_FREEZER_02_R1 | Analyte | Stability_Freezer_8days | 2 | 1 | 2.1488 | 367458.125 | 81927.5 | 111860.57 | 1.5 | 8911.596 | 1.67
42 | 200528_STAB_FREEZER_03_R1 | Analyte | Stability_Freezer_8days | 3 | 1 | 2.1488 | 360434.906 | 83640.633 | 112498.547 | 1.51 | 12715.832 | 1.66
43 | 200528_AMOXCAL08_BLANK_08_R1 | Blank | Blank |  | 1 |  | 85.198 | 45.564 | 18.942 | 1.51 | 2.278 | 1.66
44 | 200528_AMOXCAL08_BLANK_01_R2 | Blank | Blank | 1 | 2 |  | 66.566 | 30.508 | 19.779 | 1.63 | 6.27 | 1.65
45 | 200528_AMOXCAL08_CAL_01_R2 | Standard | CAL01 | 1 | 2 | 0.0248 | 4509.372 | 85418.297 | 1413.95 | 1.32 | 504.021 | 1.68
46 | 200528_AMOXCAL08_CAL_02_R2 | Standard | CAL02 | 1 | 2 | 0.0496 | 9772.044 | 86167.75 | 2929.37 | 1.4 | 1006.009 | 1.67
47 | 200528_AMOXCAL08_CAL_03_R2 | Standard | CAL03 | 1 | 2 | 0.0992 | 17044.648 | 86550.898 | 5278.345 | 1.32 | 1963.76 | 1.68
48 | 200528_AMOXCAL08_CAL_04_R2 | Standard | CAL04 | 1 | 2 | 0.2479 | 37569.816 | 86087.273 | 11562.039 | 1.29 | 4683.304 | 1.67
49 | 200528_AMOXCAL08_CAL_05_R2 | Standard | CAL05 | 1 | 2 | 0.4958 | 80054.484 | 86279.938 | 24902.334 | 1.34 | 8172.545 | 1.68
50 | 200528_AMOXCAL08_CAL_06_R2 | Standard | CAL06 | 1 | 2 | 0.9916 | 176894.172 | 85063.391 | 53699.363 | 1.38 | 9888.048 | 1.66
51 | 200528_AMOXCAL08_CAL_07_R2 | Standard | CAL07 | 1 | 2 | 1.9832 | 341342.531 | 79445.664 | 103900.242 | 1.44 | 18318.734 | 1.67
52 | 200528_AMOXCAL08_CAL_08_R2 | Standard | CAL08 | 1 | 2 | 2.479 | 420562.594 | 82016.867 | 128112.523 | 1.45 | 11624.582 | 1.66
53 | 200528_AMOXCAL08_BLANK_02_R2 | Blank | Carryover | 1 | 2 |  | 73.394 | 40.362 | 17.089 | 2.07 | 1.705 | 1.65
54 | 200528_AMOXCAL08_QC_LLOQ_01_R2 | QC | LLOQ | 1 | 2 | 0.0258 | 3770.07 | 85684.555 | 1088.792 | 1.33 | 236.391 | 1.66
55 | 200528_AMOXCAL08_QC_LLOQ_02_R2 | QC | LLOQ | 2 | 2 | 0.0258 | 5155.706 | 86105.227 | 1593.423 | 1.33 | 711.359 | 1.67
56 | 200528_AMOXCAL08_QC_LLOQ_03_R2 | QC | LLOQ | 3 | 2 | 0.0258 | 4573.063 | 83831.086 | 1511.042 | 1.25 | 459.353 | 1.66
57 | 200528_AMOXCAL08_QC_low_01_R2 | QC | LOW | 1 | 2 | 0.0413 | 7249.958 | 86472.109 | 2163.512 | 1.35 | 1203.834 | 1.67
58 | 200528_AMOXCAL08_QC_low_02_R2 | QC | LOW | 2 | 2 | 0.0413 | 7514.755 | 86169.977 | 2308.057 | 1.28 | 1188.327 | 1.67
59 | 200528_AMOXCAL08_QC_low_03_R2 | QC | LOW | 3 | 2 | 0.0413 | 7300.83 | 83398.711 | 2380.052 | 1.29 | 1555.163 | 1.66
60 | 200528_AMOXCAL08_QC_mid_01_R2 | QC | MID | 1 | 2 | 0.4127 | 73971.031 | 87159.648 | 22877.881 | 1.34 | 11118.765 | 1.65
61 | 200528_AMOXCAL08_QC_mid_02_R2 | QC | MID | 2 | 2 | 0.4127 | 70469.258 | 84040.906 | 22047.318 | 1.31 | 5415.922 | 1.67
62 | 200528_AMOXCAL08_QC_mid_03_R2 | QC | MID | 3 | 2 | 0.4127 | 73928.367 | 84357.164 | 22846.305 | 1.29 | 4890.58 | 1.65
63 | 200528_AMOXCAL08_QC_high_01_R2 | QC | HIGH | 1 | 2 | 2.3213 | 337315.219 | 83369.578 | 103300.875 | 1.49 | 26668.809 | 1.66
64 | 200528_AMOXCAL08_QC_high_02_R2 | QC | HIGH | 2 | 2 | 2.3213 | 387088.938 | 81555.727 | 119082.875 | 1.48 | 12116.909 | 1.64
65 | 200528_AMOXCAL08_QC_high_03_R2 | QC | HIGH | 3 | 2 | 2.3213 | 401233.656 | 81422.336 | 125666.023 | 1.46 | 9746.515 | 1.65
66 | 200528_AMOXCAL08_BLANK_03_R2 | Blank | Blank | 2 | 2 |  | 88.063 | 36.86 |  | 0.99 | 2.273 | 1.65
67 | 200528_STAB_BENCH_01_R2 | Analyte | Stability_Bench_8days | 1 | 2 | 2.1488 | 13112.038 | 84379.523 | 3898.216 | 1.34 | 804.112 | 1.65
68 | 200528_STAB_BENCH_02_R2 | Analyte | Stability_Bench_8days | 2 | 2 | 2.1488 | 12805.112 | 85156.25 | 3932.552 | 1.31 | 1090.182 | 1.65
69 | 200528_STAB_BENCH_03_R2 | Analyte | Stability_Bench_8days | 3 | 2 | 2.1488 | 12621.359 | 86127.555 | 3820.098 | 1.37 | 966.699 | 1.65
70 | 200528_AMOXCAL08_BLANK_04_R2 | Blank | Blank | 3 | 2 |  | 58.704 | 48.699 | 23.271 | 0.97 | 6.613 | 1.66
71 | 200528_STAB_FRIDGE8days_01_R2 | Analyte | Stability_Fridge_8days | 1 | 2 | 2.1488 | 159864.703 | 84105.266 | 49190.691 | 1.33 | 17836.072 | 1.66
72 | 200528_STAB_FRIDGE8days_02_R2 | Analyte | Stability_Fridge_8days | 2 | 2 | 2.1488 | 173833.672 | 83185.055 | 52076.637 | 1.44 | 10338.266 | 1.65
73 | 200528_STAB_FRIDGE8days_03_R2 | Analyte | Stability_Fridge_8days | 3 | 2 | 2.1488 | 178580.281 | 85190.563 | 52400.535 | 1.41 | 8181.532 | 1.65
74 | 200528_AMOXCAL08_BLANK_05_R2 | Blank | Blank | 4 | 2 |  | 57.162 | 32.836 |  | 1.05 | 2.329 | 1.66
75 | 200528_STAB_FRIDGE1day_01_R2 | Analyte | Stability_Fridge_1day | 1 | 2 | 2.1488 | 344735.063 | 81344.945 | 106188.789 | 1.44 | 44630.711 | 1.65
76 | 200528_STAB_FRIDGE1day_02_R2 | Analyte | Stability_Fridge_1day | 2 | 2 | 2.1488 | 350527.688 | 82831.063 | 110421.422 | 1.48 | 13484.286 | 1.65
77 | 200528_STAB_FRIDGE1day_03_R2 | Analyte | Stability_Fridge_1day | 3 | 2 | 2.1488 | 341151.094 | 82795.555 | 106543.156 | 1.43 | 9146.206 | 1.64
78 | 200528_AMOXCAL08_BLANK_06_R2 | Blank | Blank | 5 | 2 |  | 73.273 | 47.581 | 23.822 | 1.14 | 1.897 | 1.64
79 | 200528_STAB_FREEZETHAW_01_R2 | Analyte | Stability_Freezethaw_8days | 1 | 2 | 2.1488 | 334650.094 | 84615.93 | 104632.508 | 1.41 | 21241.26 | 1.65
80 | 200528_STAB_FREEZETHAW_02_R2 | Analyte | Stability_Freezethaw_8days | 2 | 2 | 2.1488 | 318561.406 | 81081.094 | 97896.18 | 1.45 | 9543.567 | 1.64
81 | 200528_STAB_FREEZETHAW_03_R2 | Analyte | Stability_Freezethaw_8days | 3 | 2 | 2.1488 | 334056.625 | 83445.375 | 103395.094 | 1.45 | 8531.206 | 1.65
82 | 200528_AMOXCAL08_BLANK_07_R2 | Blank | Blank | 6 | 2 |  | 90.279 | 28.723 | 24.859 | 1.17 | 2.672 | 1.64
83 | 200528_STAB_FREEZER_01_R2 | Analyte | Stability_Freezer_8days | 1 | 2 | 2.1488 | 346637.563 | 83750.625 | 106553.141 | 1.46 | 24141.308 | 1.65
84 | 200528_STAB_FREEZER_02_R2 | Analyte | Stability_Freezer_8days | 2 | 2 | 2.1488 | 371181.75 | 82261.766 | 114607.031 | 1.46 | 9367.391 | 1.65
85 | 200528_STAB_FREEZER_03_R2 | Analyte | Stability_Freezer_8days | 3 | 2 | 2.1488 | 358147.781 | 80691.031 | 109571.805 | 1.45 | 9382.801 | 1.64
86 | 200528_AMOXCAL08_BLANK_08_R2 | Blank | Blank | 7 | 2 |  | 97.409 | 29.718 | 28.834 | 1.09 | 2.298 | 1.65
Note on A1: Pieter-Jan De Sutter: Run order
Note on B1: Pieter-Jan De Sutter: Sample name (optional)
Note on C1: Pieter-Jan De Sutter: Sample type: Blank Standard QC Analyte
Note on D1: Pieter-Jan De Sutter: Level of sample type (see explanation sheet)
Note on E1: Pieter-Jan De Sutter: Analytical replicate of the sample
Note on F1: Pieter-Jan De Sutter: injection number
Note on G1: Pieter-Jan De Sutter: Nominal concentration of the sample
Note on H1: Pieter-Jan De Sutter: Area of the quantifier ion
Note on I1: Pieter-Jan De Sutter: Area of the IS ion
Note on J1: Pieter-Jan De Sutter: Area of the qualifier ion (optional)
Note on K1: Pieter-Jan De Sutter: Peak assymetry (optional)
Note on L1: Pieter-Jan De Sutter: Signal to noise ratio (optional)
Note on M1: Pieter-Jan De Sutter: Retention time analyte (optional)

## Sample Type-Level Explanation
#Explanation of the different possible inputs of Type-Level pairs
Type | Level | Explanation
Blank | Blank | Processed blank sample without analyte or internal standard
Blank | Zero | Processed blank sample without analyate but with internal standard
Blank | Carry-over | Processed blank sample after highest calibrator
Blank | <free> | Blank which will not be evaluated (e.g. solvent blank)
Standard | <free, Calibrator name> | Calibrator standard sample
QC | LLOQ | Quality control sample at the level of the lowest standard (lower limit of quantification)
QC | LOW | Quality control sample at a low concentration
QC | MID | Quality control sample at a mid concentration
QC | HIGH | Quality control sample at a high concentration
Sample | <free, Sample name> | Samples to be quantified

## CopyPaste
#Optional: use this tab to copy paste data from text document (example_input as example)
Quantify Compound Summary Report
Printed Fri May 29 08:48:27 2020 |  |  |  |  | IS
Compound 1: Amoxicillin
| Name | Type | Std_conc | Rt | QUANT_area | IS_area | Response | Primary Flags | µg | Acuracy | Vial | Sample Text | ID | QUAL_area | Ratio_quant/qual | Peak_asym | Signaltonoise
1 | 200528_AMOXCAL08_BLANK_01_R1 | Blank |  | 1.8 | 46.247 | 32.403 | 0.35681 | bb | 0.7079 |  | 1:C,8 | Blank H20 | BLANK | 15.476 | 2.988 | 0.71 | 6.627
2 | 200528_AMOXCAL08_CAL_01_R1 | Standard | 0.0248 | 1.72 | 4434.209 | 95857.703 | 0.011565 | bb | 0.0398 | 60.3 | 1:A,1 | 0.025 µg amox + 0.25 µg amox D4 | CAL_01 | 1383.668 | 3.205 | 1.23 | 732.829
3 | 200528_AMOXCAL08_CAL_02_R1 | Standard | 0.0496 | 1.71 | 9316.205 | 91599.031 | 0.025427 | bb | 0.0666 | 34.2 | 1:A,2 | 0.050 µg amox + 0.25 µg amox D4 | CAL_02 | 2854.581 | 3.264 | 1.27 | 1361.123
4 | 200528_AMOXCAL08_CAL_03_R1 | Standard | 0.0992 | 1.71 | 17265.998 | 93729.109 | 0.046053 | bb | 0.1065 | 7.4 | 1:A,3 | 0.100 µg amox + 0.25 µg amox D4 | CAL_03 | 5207.094 | 3.316 | 1.31 | 4235.256
5 | 200528_AMOXCAL08_CAL_04_R1 | Standard | 0.2479 | 1.7 | 37316.965 | 91904.422 | 0.10151 | bb | 0.2138 | -13.7 | 1:A,4 | 0.250 µg amox + 0.25 µg amox D4 | CAL_04 | 11323.432 | 3.296 | 1.35 | 5635.494
6 | 200528_AMOXCAL08_CAL_05_R1 | Standard | 0.4958 | 1.7 | 76511.07 | 88371.742 | 0.21645 | bb | 0.4363 | -12 | 1:A,5 | 0.500µg amox + 0.25 µg amox D4 | CAL_05 | 23407.684 | 3.269 | 1.33 | 11854.806
7 | 200528_AMOXCAL08_CAL_06_R1 | Standard | 0.9916 | 1.7 | 171454.578 | 87871.453 | 0.4878 | bb | 0.9614 | -3 | 1:A,6 | 1.000 µg amox + 0.25 µg amox D4 | CAL_06 | 52103.48 | 3.291 | 1.38 | 21898.97
8 | 200528_AMOXCAL08_CAL_07_R1 | Standard | 1.9832 | 1.7 | 344788.781 | 83941.828 | 1.0269 | bb | 2.0046 | 1.1 | 1:A,7 | 2.000 µg amox + 0.25 µg amox D4 | CAL_07 | 103296.039 | 3.338 | 1.42 | 16642.639
9 | 200528_AMOXCAL08_CAL_08_R1 | Standard | 2.479 | 1.7 | 394913.938 | 81111.422 | 1.2172 | bb | 2.3729 | -4.3 | 1:A,8 | 2.500 µg amox + 0.25 µg amox D4 | CAL_08 | 121498.125 | 3.25 | 1.44 | 17974.155
10 | 200528_AMOXCAL08_BLANK_02_R1 | Blank |  | 1.69 | 56.414 | 25.526 | 0.55251 | bb | 1.0866 |  | 1:C,8 | Blank H20 | BLANK | 18.338 | 3.076 | 1.11 | 2.331
11 | 200528_AMOXCAL08_QC_LLOQ_01_R1 | QC | 0.0258 | 1.7 | 3749.195 | 88030.734 | 0.010647 | bd | 0.038 | 47.2 | 1:B,1 | 0.025 µg amox + 0.25 µg amox D4 | QC_LOQ_1 | 1126.755 | 3.327 | 1.3 | 288.954
12 | 200528_AMOXCAL08_QC_LLOQ_02_R1 | QC | 0.0258 | 1.71 | 5016.836 | 85982.75 | 0.014587 | bb | 0.0456 | 76.8 | 1:B,2 | 0.025 µg amox + 0.25 µg amox D4 | QC_LOQ_2 | 1531.234 | 3.276 | 1.28 | 797.878
13 | 200528_AMOXCAL08_QC_LLOQ_03_R1 | QC | 0.0258 | 1.69 | 4614.341 | 87470.781 | 0.013188 | bb | 0.0429 | 66.3 | 1:B,3 | 0.025 µg amox + 0.25 µg amox D4 | QC_LOQ_3 | 1442.069 | 3.2 | 1.31 | 613.573
14 | 200528_AMOXCAL08_QC_low_01_R1 | QC | 0.0413 | 1.68 | 7016.25 | 85834.633 | 0.020435 | bb | 0.0569 | 37.8 | 1:B,4 | 0.040µg amox +0.25 µg amox D4 | QC_LOW_1 | 2071.614 | 3.387 | 1.36 | 1236.306
15 | 200528_AMOXCAL08_QC_low_02_R1 | QC | 0.0413 | 1.68 | 7239.498 | 83686.383 | 0.021627 | bb | 0.0592 | 43.4 | 1:B,5 | 0.040µg amox + 0.25 µg amox D4 | QC_LOW_2 | 2239.97 | 3.232 | 1.31 | 1201.569
16 | 200528_AMOXCAL08_QC_low_03_R1 | QC | 0.0413 | 1.68 | 7565.869 | 86299.234 | 0.021918 | bd | 0.0598 | 44.8 | 1:B,6 | 0.040µg amox + 0.25 µg amox D4 | QC_LOW_3 | 2202.965 | 3.434 | 1.33 | 1821.127
17 | 200528_AMOXCAL08_QC_mid_01_R1 | QC | 0.4127 | 1.68 | 73389.359 | 86904.367 | 0.21112 | bb | 0.4259 | 3.2 | 1:C,1 | 0.400 µg amox + 0.25 µg amox D4 | QC_MID_1 | 22641.227 | 3.241 | 1.36 | 8667.28
18 | 200528_AMOXCAL08_QC_mid_02_R1 | QC | 0.4127 | 1.67 | 70189.055 | 85028.313 | 0.20637 | bb | 0.4168 | 1 | 1:C,2 | 0.400 µg amox + 0.25 µg amox D4 | QC_MID_2 | 21286.672 | 3.297 | 1.33 | 9155.812
19 | 200528_AMOXCAL08_QC_mid_03_R1 | QC | 0.4127 | 1.67 | 75201.93 | 84357.945 | 0.22287 | bd | 0.4487 | 8.7 | 1:C,3 | 0.400 µg amox + 0.25 µg amox D4 | QC_MID_3 | 22348.77 | 3.365 | 1.34 | 6194.285
20 | 200528_AMOXCAL08_QC_high_01_R1 | QC | 2.3213 | 1.67 | 338570.469 | 82131.953 | 1.0306 | bb | 2.0118 | -13.3 | 1:C,4 | 2.250 µg amox + 0.25 µg amox D4 | QC_HIGH_1 | 104452.375 | 3.241 | 1.48 | 36683.106
21 | 200528_AMOXCAL08_QC_high_02_R1 | QC | 2.3213 | 1.67 | 386392.781 | 79007.523 | 1.2226 | bb | 2.3835 | 2.7 | 1:C,5 | 2.250 µg amox + 0.25 µg amox D4 | QC_HIGH_2 | 118775.609 | 3.253 | 1.46 | 12877.595
22 | 200528_AMOXCAL08_QC_high_03_R1 | QC | 2.3213 | 1.68 | 401925.313 | 80051.344 | 1.2552 | bb | 2.4465 | 5.4 | 1:C,6 | 2.250 µg amox + 0.25 µg amox D4 | QC_HIGH_3 | 125500.055 | 3.203 | 1.44 | 11723.021
23 | 200528_AMOXCAL08_BLANK_03_R1 | Blank |  | 1.66 | 58.009 | 42.813 | 0.33874 | bb | 0.6729 |  | 1:C,8 | Blank H20 | BLANK | 19.798 | 2.93 | 1.37 | 1.656
24 | 200528_STAB_BENCH_01_R1 | Analyte | 2.1488 | 1.68 | 12685.705 | 84221.797 | 0.037656 | bb | 0.0903 | -95.8 | 1:D,1 | 2.250 µg amox, 8 days 21°C | STAB_BENCH_1 | 3739.616 | 3.392 | 1.3 | 847.726
25 | 200528_STAB_BENCH_02_R1 | Analyte | 2.1488 | 1.67 | 12831.142 | 86268.734 | 0.037184 | bb | 0.0893 | -95.8 | 1:D,2 | 2.250 µg amox, 8 days 21°C | STAB_BENCH_2 | 3927.808 | 3.267 | 1.3 | 1002.534
26 | 200528_STAB_BENCH_03_R1 | Analyte | 2.1488 | 1.68 | 12333.82 | 85081.164 | 0.036241 | bb | 0.0875 | -95.9 | 1:D,3 | 2.250 µg amox, 8 days 21°C | STAB_BENCH_3 | 3832.707 | 3.218 | 1.31 | 956.247
27 | 200528_AMOXCAL08_BLANK_04_R1 | Blank |  | 1.66 | 52.445 | 40.198 | 0.32617 | bb | 0.6486 |  | 1:C,8 | Blank H20 | BLANK | 15.711 | 3.338 | 1.23 | 5.721
28 | 200528_STAB_FRIDGE8days_01_R1 | Analyte | 2.1488 | 1.67 | 164700.875 | 84890.727 | 0.48504 | bb | 0.956 | -55.5 | 1:D,4 | 2.250 µg amox, 8 days 4°C | STAB_FRIDGE1week_1 | 50513.813 | 3.26 | 1.37 | 21655.236
29 | 200528_STAB_FRIDGE8days_02_R1 | Analyte | 2.1488 | 1.68 | 172774.281 | 82348.008 | 0.52453 | bb | 1.0324 | -52 | 1:D,5 | 2.250 µg amox, 8 days 4°C | STAB_FRIDGE1week_2 | 51581.207 | 3.35 | 1.38 | 10853.66
30 | 200528_STAB_FRIDGE8days_03_R1 | Analyte | 2.1488 | 1.68 | 175464.656 | 85071.273 | 0.51564 | bb | 1.0153 | -52.8 | 1:D,6 | 2.250 µg amox, 8 days 4°C | STAB_FRIDGE1week_3 | 53778.926 | 3.263 | 1.38 | 10793.257
31 | 200528_AMOXCAL08_BLANK_05_R1 | Blank |  | 1.67 | 49.763 | 44.303 | 0.28081 | bb | 0.5608 |  | 1:C,8 | Blank H20 | BLANK | 18.07 | 2.754 | 1.41 | 2.931
32 | 200528_STAB_FRIDGE1day_01_R1 | Analyte | 2.1488 | 1.67 | 334954.219 | 82381.906 | 1.0165 | bb | 1.9845 | -7.6 | 1:E,1 | 2.250 µg amox, 1 day 4°C | STAB_FRIDGE1day_1 | 105488.125 | 3.175 | 1.44 | 59063.608
33 | 200528_STAB_FRIDGE1day_02_R1 | Analyte | 2.1488 | 1.67 | 349507.875 | 82910.977 | 1.0539 | bb | 2.0568 | -4.3 | 1:E,2 | 2.250 µg amox, 1 day 4°C | STAB_FRIDGE1day_2 | 105843.602 | 3.302 | 1.46 | 10546.121
34 | 200528_STAB_FRIDGE1day_03_R1 | Analyte | 2.1488 | 1.67 | 340485.375 | 81931.219 | 1.0389 | bb | 2.0279 | -5.6 | 1:E,3 | 2.250 µg amox, 1 day 4°C | STAB_FRIDGE1day_3 | 105837.32 | 3.217 | 1.47 | 9357.626
35 | 200528_AMOXCAL08_BLANK_06_R1 | Blank |  | 1.67 | 82.157 | 33.081 | 0.62088 | bb | 1.2189 |  | 1:C,8 | Blank H20 | BLANK | 19.145 | 4.291 | 1.26 | 1.95
36 | 200528_STAB_FREEZETHAW_01_R1 | Analyte | 2.1488 | 1.67 | 330704.094 | 83254.828 | 0.99305 | bb | 1.9391 | -9.8 | 1:E,4 | 2.250 µg amox, 8 days freeze-thawed | STAB_FREEZETHAW_1 | 103387.813 | 3.199 | 1.46 | 22157.208
37 | 200528_STAB_FREEZETHAW_02_R1 | Analyte | 2.1488 | 1.67 | 325150.344 | 84233.781 | 0.96502 | bb | 1.8849 | -12.3 | 1:E,5 | 2.250 µg amox, 8 days freeze-thawed | STAB_FREEZETHAW_2 | 101190.219 | 3.213 | 1.48 | 9196.669
38 | 200528_STAB_FREEZETHAW_03_R1 | Analyte | 2.1488 | 1.66 | 335757.875 | 82338.828 | 1.0194 | bb | 1.9902 | -7.4 | 1:E,6 | 2.250 µg amox, 8 days freeze-thawed | STAB_FREEZETHAW_3 | 101019.438 | 3.324 | 1.42 | 7243.518
39 | 200528_AMOXCAL08_BLANK_07_R1 | Blank |  | 1.67 | 101.357 | 38.498 | 0.6582 | bb | 1.2911 |  | 1:C,8 | Blank H20 | BLANK | 25.501 | 3.975 | 1.35 | 3.406
40 | 200528_STAB_FREEZER_01_R1 | Analyte | 2.1488 | 1.66 | 342421 | 80242.359 | 1.0668 | bb | 2.0819 | -3.1 | 1:F,1 | 2.250 µg amox, 8 days -20°C | STAB_FREEZER_1 | 105927.648 | 3.233 | 1.46 | 21582.68
41 | 200528_STAB_FREEZER_02_R1 | Analyte | 2.1488 | 1.67 | 367458.125 | 81927.5 | 1.1213 | bb | 2.1873 | 1.8 | 1:F,2 | 2.250 µg amox, 8 days -20°C | STAB_FREEZER_2 | 111860.57 | 3.285 | 1.5 | 8911.596
42 | 200528_STAB_FREEZER_03_R1 | Analyte | 2.1488 | 1.66 | 360434.906 | 83640.633 | 1.0773 | bb | 2.1023 | -2.2 | 1:F,3 | 2.250 µg amox, 8 days -20°C | STAB_FREEZER_3 | 112498.547 | 3.204 | 1.51 | 12715.832
43 | 200528_AMOXCAL08_BLANK_08_R1 | Blank |  | 1.66 | 85.198 | 45.564 | 0.46746 | bb | 0.922 |  | 1:C,8 | Blank H20 | BLANK | 18.942 | 4.498 | 1.51 | 2.278
44 | 200528_AMOXCAL08_BLANK_01_R2 | Blank |  | 1.65 | 66.566 | 30.508 | 0.54548 | bb | 1.073 |  | 1:C,8 | Blank H20 | BLANK | 19.779 | 3.365 | 1.63 | 6.27
45 | 200528_AMOXCAL08_CAL_01_R2 | Standard | 0.0248 | 1.68 | 4509.372 | 85418.297 | 0.013198 | bd | 0.0429 | 73.1 | 1:A,1 | 0.025 µg amox + 0.25 µg amox D4 | CAL_01 | 1413.95 | 3.189 | 1.32 | 504.021
46 | 200528_AMOXCAL08_CAL_02_R2 | Standard | 0.0496 | 1.67 | 9772.044 | 86167.75 | 0.028352 | bb | 0.0722 | 45.7 | 1:A,2 | 0.050 µg amox + 0.25 µg amox D4 | CAL_02 | 2929.37 | 3.336 | 1.4 | 1006.009
47 | 200528_AMOXCAL08_CAL_03_R2 | Standard | 0.0992 | 1.68 | 17044.648 | 86550.898 | 0.049233 | bb | 0.1127 | 13.6 | 1:A,3 | 0.100 µg amox + 0.25 µg amox D4 | CAL_03 | 5278.345 | 3.229 | 1.32 | 1963.76
48 | 200528_AMOXCAL08_CAL_04_R2 | Standard | 0.2479 | 1.67 | 37569.816 | 86087.273 | 0.1091 | bb | 0.2285 | -7.8 | 1:A,4 | 0.250 µg amox + 0.25 µg amox D4 | CAL_04 | 11562.039 | 3.249 | 1.29 | 4683.304
49 | 200528_AMOXCAL08_CAL_05_R2 | Standard | 0.4958 | 1.68 | 80054.484 | 86279.938 | 0.23196 | bb | 0.4663 | -6 | 1:A,5 | 0.500µg amox + 0.25 µg amox D4 | CAL_05 | 24902.334 | 3.215 | 1.34 | 8172.545
50 | 200528_AMOXCAL08_CAL_06_R2 | Standard | 0.9916 | 1.66 | 176894.172 | 85063.391 | 0.51989 | bb | 1.0235 | 3.2 | 1:A,6 | 1.000 µg amox + 0.25 µg amox D4 | CAL_06 | 53699.363 | 3.294 | 1.38 | 9888.048
51 | 200528_AMOXCAL08_CAL_07_R2 | Standard | 1.9832 | 1.67 | 341342.531 | 79445.664 | 1.0741 | bb | 2.0961 | 5.7 | 1:A,7 | 2.000 µg amox + 0.25 µg amox D4 | CAL_07 | 103900.242 | 3.285 | 1.44 | 18318.734
52 | 200528_AMOXCAL08_CAL_08_R2 | Standard | 2.479 | 1.66 | 420562.594 | 82016.867 | 1.2819 | bb | 2.4982 | 0.8 | 1:A,8 | 2.500 µg amox + 0.25 µg amox D4 | CAL_08 | 128112.523 | 3.283 | 1.45 | 11624.582
53 | 200528_AMOXCAL08_BLANK_02_R2 | Blank |  | 1.65 | 73.394 | 40.362 | 0.4546 | bb | 0.8971 |  | 1:C,8 | Blank H20 | BLANK | 17.089 | 4.295 | 2.07 | 1.705
54 | 200528_AMOXCAL08_QC_LLOQ_01_R2 | QC | 0.0258 | 1.66 | 3770.07 | 85684.555 | 0.011 | bb | 0.0387 | 49.9 | 1:B,1 | 0.025 µg amox + 0.25 µg amox D4 | QC_LOQ_1 | 1088.792 | 3.463 | 1.33 | 236.391
55 | 200528_AMOXCAL08_QC_LLOQ_02_R2 | QC | 0.0258 | 1.67 | 5155.706 | 86105.227 | 0.014969 | bd | 0.0463 | 79.6 | 1:B,2 | 0.025 µg amox + 0.25 µg amox D4 | QC_LOQ_2 | 1593.423 | 3.236 | 1.33 | 711.359
56 | 200528_AMOXCAL08_QC_LLOQ_03_R2 | QC | 0.0258 | 1.66 | 4573.063 | 83831.086 | 0.013638 | bb | 0.0438 | 69.7 | 1:B,3 | 0.025 µg amox + 0.25 µg amox D4 | QC_LOQ_3 | 1511.042 | 3.026 | 1.25 | 459.353
57 | 200528_AMOXCAL08_QC_low_01_R2 | QC | 0.0413 | 1.67 | 7249.958 | 86472.109 | 0.02096 | bb | 0.0579 | 40.3 | 1:B,4 | 0.040µg amox +0.25 µg amox D4 | QC_LOW_1 | 2163.512 | 3.351 | 1.35 | 1203.834
58 | 200528_AMOXCAL08_QC_low_02_R2 | QC | 0.0413 | 1.67 | 7514.755 | 86169.977 | 0.021802 | bb | 0.0596 | 44.2 | 1:B,5 | 0.040µg amox + 0.25 µg amox D4 | QC_LOW_2 | 2308.057 | 3.256 | 1.28 | 1188.327
59 | 200528_AMOXCAL08_QC_low_03_R2 | QC | 0.0413 | 1.66 | 7300.83 | 83398.711 | 0.021885 | bb | 0.0597 | 44.6 | 1:B,6 | 0.040µg amox + 0.25 µg amox D4 | QC_LOW_3 | 2380.052 | 3.068 | 1.29 | 1555.163
60 | 200528_AMOXCAL08_QC_mid_01_R2 | QC | 0.4127 | 1.65 | 73971.031 | 87159.648 | 0.21217 | bb | 0.428 | 3.7 | 1:C,1 | 0.400 µg amox + 0.25 µg amox D4 | QC_MID_1 | 22877.881 | 3.233 | 1.34 | 11118.765
61 | 200528_AMOXCAL08_QC_mid_02_R2 | QC | 0.4127 | 1.67 | 70469.258 | 84040.906 | 0.20963 | bb | 0.4231 | 2.5 | 1:C,2 | 0.400 µg amox + 0.25 µg amox D4 | QC_MID_2 | 22047.318 | 3.196 | 1.31 | 5415.922
62 | 200528_AMOXCAL08_QC_mid_03_R2 | QC | 0.4127 | 1.65 | 73928.367 | 84357.164 | 0.21909 | bb | 0.4414 | 6.9 | 1:C,3 | 0.400 µg amox + 0.25 µg amox D4 | QC_MID_3 | 22846.305 | 3.236 | 1.29 | 4890.58
63 | 200528_AMOXCAL08_QC_high_01_R2 | QC | 2.3213 | 1.66 | 337315.219 | 83369.578 | 1.0115 | bb | 1.9749 | -14.9 | 1:C,4 | 2.250 µg amox + 0.25 µg amox D4 | QC_HIGH_1 | 103300.875 | 3.265 | 1.49 | 26668.809
64 | 200528_AMOXCAL08_QC_high_02_R2 | QC | 2.3213 | 1.64 | 387088.938 | 81555.727 | 1.1866 | bb | 2.3137 | -0.3 | 1:C,5 | 2.250 µg amox + 0.25 µg amox D4 | QC_HIGH_2 | 119082.875 | 3.251 | 1.48 | 12116.909
65 | 200528_AMOXCAL08_QC_high_03_R2 | QC | 2.3213 | 1.65 | 401233.656 | 81422.336 | 1.232 | bb | 2.4015 | 3.5 | 1:C,6 | 2.250 µg amox + 0.25 µg amox D4 | QC_HIGH_3 | 125666.023 | 3.193 | 1.46 | 9746.515
66 | 200528_AMOXCAL08_BLANK_03_R2 | Blank |  | 1.65 | 88.063 | 36.86 | 0.59728 | bb | 1.1732 |  | 1:C,8 | Blank H20 | BLANK |  |  | 0.99 | 2.273
67 | 200528_STAB_BENCH_01_R2 | Analyte | 2.1488 | 1.65 | 13112.038 | 84379.523 | 0.038848 | bb | 0.0926 | -95.7 | 1:D,1 | 2.250 µg amox, 8 days 21°C | STAB_BENCH_1 | 3898.216 | 3.364 | 1.34 | 804.112
68 | 200528_STAB_BENCH_02_R2 | Analyte | 2.1488 | 1.65 | 12805.112 | 85156.25 | 0.037593 | bb | 0.0901 | -95.8 | 1:D,2 | 2.250 µg amox, 8 days 21°C | STAB_BENCH_2 | 3932.552 | 3.256 | 1.31 | 1090.182
69 | 200528_STAB_BENCH_03_R2 | Analyte | 2.1488 | 1.65 | 12621.359 | 86127.555 | 0.036636 | bb | 0.0883 | -95.9 | 1:D,3 | 2.250 µg amox, 8 days 21°C | STAB_BENCH_3 | 3820.098 | 3.304 | 1.37 | 966.699
70 | 200528_AMOXCAL08_BLANK_04_R2 | Blank |  | 1.66 | 58.704 | 48.699 | 0.30136 | bb | 0.6006 |  | 1:C,8 | Blank H20 | BLANK | 23.271 | 2.523 | 0.97 | 6.613
71 | 200528_STAB_FRIDGE8days_01_R2 | Analyte | 2.1488 | 1.66 | 159864.703 | 84105.266 | 0.47519 | bb | 0.937 | -56.4 | 1:D,4 | 2.250 µg amox, 8 days 4°C | STAB_FRIDGE1week_1 | 49190.691 | 3.25 | 1.33 | 17836.072
72 | 200528_STAB_FRIDGE8days_02_R2 | Analyte | 2.1488 | 1.65 | 173833.672 | 83185.055 | 0.52243 | bb | 1.0284 | -52.1 | 1:D,5 | 2.250 µg amox, 8 days 4°C | STAB_FRIDGE1week_2 | 52076.637 | 3.338 | 1.44 | 10338.266
73 | 200528_STAB_FRIDGE8days_03_R2 | Analyte | 2.1488 | 1.65 | 178580.281 | 85190.563 | 0.52406 | bb | 1.0316 | -52 | 1:D,6 | 2.250 µg amox, 8 days 4°C | STAB_FRIDGE1week_3 | 52400.535 | 3.408 | 1.41 | 8181.532
74 | 200528_AMOXCAL08_BLANK_05_R2 | Blank |  | 1.66 | 57.162 | 32.836 | 0.43521 | bb | 0.8596 |  | 1:C,8 | Blank H20 | BLANK |  |  | 1.05 | 2.329
75 | 200528_STAB_FRIDGE1day_01_R2 | Analyte | 2.1488 | 1.65 | 344735.063 | 81344.945 | 1.0595 | bb | 2.0677 | -3.8 | 1:E,1 | 2.250 µg amox, 1 day 4°C | STAB_FRIDGE1day_1 | 106188.789 | 3.246 | 1.44 | 44630.711
76 | 200528_STAB_FRIDGE1day_02_R2 | Analyte | 2.1488 | 1.65 | 350527.688 | 82831.063 | 1.058 | bb | 2.0648 | -3.9 | 1:E,2 | 2.250 µg amox, 1 day 4°C | STAB_FRIDGE1day_2 | 110421.422 | 3.174 | 1.48 | 13484.286
77 | 200528_STAB_FRIDGE1day_03_R2 | Analyte | 2.1488 | 1.64 | 341151.094 | 82795.555 | 1.0301 | bb | 2.0108 | -6.4 | 1:E,3 | 2.250 µg amox, 1 day 4°C | STAB_FRIDGE1day_3 | 106543.156 | 3.202 | 1.43 | 9146.206
78 | 200528_AMOXCAL08_BLANK_06_R2 | Blank |  | 1.64 | 73.273 | 47.581 | 0.38499 | bb | 0.7624 |  | 1:C,8 | Blank H20 | BLANK | 23.822 | 3.076 | 1.14 | 1.897
79 | 200528_STAB_FREEZETHAW_01_R2 | Analyte | 2.1488 | 1.65 | 334650.094 | 84615.93 | 0.98873 | bb | 1.9308 | -10.1 | 1:E,4 | 2.250 µg amox, 8 days freeze-thawed | STAB_FREEZETHAW_1 | 104632.508 | 3.198 | 1.41 | 21241.26
80 | 200528_STAB_FREEZETHAW_02_R2 | Analyte | 2.1488 | 1.64 | 318561.406 | 81081.094 | 0.98223 | bb | 1.9182 | -10.7 | 1:E,5 | 2.250 µg amox, 8 days freeze-thawed | STAB_FREEZETHAW_2 | 97896.18 | 3.254 | 1.45 | 9543.567
81 | 200528_STAB_FREEZETHAW_03_R2 | Analyte | 2.1488 | 1.65 | 334056.625 | 83445.375 | 1.0008 | bb | 1.9542 | -9.1 | 1:E,6 | 2.250 µg amox, 8 days freeze-thawed | STAB_FREEZETHAW_3 | 103395.094 | 3.231 | 1.45 | 8531.206
82 | 200528_AMOXCAL08_BLANK_07_R2 | Blank |  | 1.64 | 90.279 | 28.723 | 0.78577 | bb | 1.538 |  | 1:C,8 | Blank H20 | BLANK | 24.859 | 3.632 | 1.17 | 2.672
83 | 200528_STAB_FREEZER_01_R2 | Analyte | 2.1488 | 1.65 | 346637.563 | 83750.625 | 1.0347 | bb | 2.0198 | -6 | 1:F,1 | 2.250 µg amox, 8 days -20°C | STAB_FREEZER_1 | 106553.141 | 3.253 | 1.46 | 24141.308
84 | 200528_STAB_FREEZER_02_R2 | Analyte | 2.1488 | 1.65 | 371181.75 | 82261.766 | 1.1281 | bb | 2.2004 | 2.4 | 1:F,2 | 2.250 µg amox, 8 days -20°C | STAB_FREEZER_2 | 114607.031 | 3.239 | 1.46 | 9367.391
85 | 200528_STAB_FREEZER_03_R2 | Analyte | 2.1488 | 1.64 | 358147.781 | 80691.031 | 1.1096 | bb | 2.1647 | 0.7 | 1:F,3 | 2.250 µg amox, 8 days -20°C | STAB_FREEZER_3 | 109571.805 | 3.269 | 1.45 | 9382.801
86 | 200528_AMOXCAL08_BLANK_08_R2 | Blank |  | 1.65 | 97.409 | 29.718 | 0.81944 | bb | 1.6032 |  | 1:C,8 | Blank H20 | BLANK | 28.834 | 3.378 | 1.09 | 2.298

## Conditions (fixed)
Types
Blank
Standard
Analyte
QC